## Hoja 1
UnitId | Name | Simbol
1 | Temperatura | ºC
2 | Humedad Relativa | %
3 | Voltaje Fase1 | V
4 | Voltaje Fase2 | V
5 | Voltaje Fase3 | V
6 | Succion | kPa
7 | Voltaje Fase 1 neutro | VL1
8 | Voltaje Fase 2 neutro | VL2
9 | Voltaje Fase 3 neutro | VL3
10 | Corriente Fase 1 | A1
11 | Corriente Fase 2 | A2
12 | Corriente Fase 3 | A3
13 | Potencia Activa Fase 1 (FAP1) | W1
14 | Potencia Activa Fase 2 (FAP2) | W2
15 | Potencia Activa Fase 3 (FAP3) | W3
16 | Potencia Aparente Fase 1 (FAPP1) | VA1
17 | Potencia Aparente Fase 2 (FAPP2) | VA2
18 | Potencia Aparente Fase 3 (FAPP3) | VA3
19 | Potencia Reactiva 1 (FRP1) | VAr1
20 | Potencia Reactiva 2 (FRP2) | VAr2
21 | Potencia Reactiva 3 (FRP3) | VAr3
22 | Factor de Potencia 1 (FPF1) | %
23 | Factor de Potencia 2 (FPF2) | %
24 | Factor de Potencia 3 (FPF3) | %
25 | Total system power demand (W) | W
26 | Total Potencia factor 1 (TSPF1) | %
27 | Frecuencia de Voltaje Total | Hz
28 | Total Energia Aparente (TAPE) | kVAh
29 | Voltaje L1_L2 (VL1L2) | V
30 | Voltaje L2_L3(VL2L3) | V
31 | Voltaje L1_L3 (VL1L3) | V
32 | THD L1 (THDL1) | %
33 | THD L2 (THDL2) | %
34 | THD L3 (THDL3) | %
35 | Corriente THD A1 (THDA1) | %
36 | Corriente THD A2 (THDA2) | %
37 | Corriente THD A3 (THDA3) | %
38 | Voltaje promedio de línea a neutro (THDLN) | %
39 | Promedio de voltios de línea a línea (THDLL) | %
40 | Energía activa total 3 (TAE3) | kWh3
41 | Energía Reactiva total 3 (TRE3) | kVArh3
42 | Importación total de energía activa (TIAE) | kWh
43 | Energía activa total exportada (TEAE) | KWH
44 | Importación total de energía reactiva (TIRE) | kVArh
45 | importar energía activa L1 (L1IAE) | kWh
46 | importar energía activa L2 (L2IAE) | kWh
47 | importar energía activa L3 (L3IAE) | kWh
48 | importar energía reactiva L1 (L1IRE) | kVArh
49 | importar energía reactiva L2 (L2IRE) | kVArh
50 | importar energía reactiva L3 (L3IRE) | kVArh
51 | Voltios amperios totales del sistema (TSVA) | VA
52 | Voltios amperios reactivos totales del sistema (TSVAR) | VAr
53 | Connected_Meter | NA
54 | Average value of L1L2L3 three-phase current AvgA1A2A3 | A
55 | Phase N current | A
56 | Average value of L1L2L3 three-phase phase voltage | V
57 | Average value of three-phase line voltage (AVGU12U23U31) | V
58 | Phase 1 active power (P1) | kW
59 | Phase 2 active power (P2) | kW
60 | Phase 3 active power (P3) | kW
61 | Total Active power (PTotal) | kW
62 | Phase 1 reactive power (Q1) | kVAR
63 | Phase 2 reactive power (Q2) | kVAR
64 | Phase 3 reactive power (Q3) | kVAR
65 | Total Reactive power (Qtotal) | kVAR
66 | Phase 1 apparent power (S1) | kVA
67 | Phase 2 apparent power (S2) | kVA
68 | Phase 3 apparent power (S3) | kVA
69 | Total Apparent power (STotal) | kVA
70 | Phase 1 power factor (PF1) | NA
71 | Phase 2 power factor (PF2) | NA
72 | Phase 3 power factor (PF3) | NA
73 | Total power factor (PFTotal) | NA
74 | Phase L1 frequency (Freq1) | Hz
75 | Phase L2 frequency (Freq2) | Hz
76 | Phase L3 frequency (Freq3) | Hz
77 | Phase L1 Positive active energy (EP1IMP) | Wh
78 | Phase L2 Positive active energy (EP2IMP) | Wh
79 | Phase L3 Positive active energy (EP3IMP) | Wh
80 | Total Positive active energy (EPIMP) | Wh
81 | Phase L1 Reverse active energy (EP1Exp) | Wh
82 | Phase L2 Reverse active energy (EP2Exp) | Wh
83 | Phase L3 Reverse active energy (EP3Exp) | Wh
84 | Total Reverse active energy (EPExp) | Wh
85 | Phase L1 Positive reactive energy (EQ1Imp) | VARh
86 | Phase L2 Positive reactive energy (EQ2Imp) | VARh
87 | Phase L3 Positive reactive energy (EQ3Imp) | VARh
88 | Total Positive reactive energy (EQImp) | VARh
89 | Phase L1 Reverse reactive energy (EQ1Exp) | VARh
90 | Phase L2 Reverse reactive energy (EQ2Exp) | VARh
91 | Phase L3 Reverse reactive energy (EQ3Exp) | VARh
92 | Total Reverse reactive energy (EQExp) | VARh
93 | Phase L1 Apparent Energy (ES1) | VAh
94 | Phase L2 Apparent Energy (ES2) | VAh
95 | Phase L3 Apparent Energy (ES3) | VAh
96 | Total Apparent Energy (ES) | VAh
97 | Phase L1 Positive active energy UInt32 (EP1Imp) | kWh
98 | Phase L2 Positive active energy UInt32 (EP2Imp) | kWh
99 | Phase L3 Positive active energy UInt32 (EP3Imp) | kWh
100 | Total Positive active energy UInt32 (EPImp) | kWh
101 | Phase L1 Reverse active energy UInt32 (EP1Exp) | kWh
102 | Phase L2 Reverse active energy UInt32 (EP2Exp) | kWh
103 | Phase L3 Reverse active energy UInt32 (EP3Exp) | kWh
104 | Total Reverse active energy UInt32 (EPExp) | kWh
105 | Phase L1 Positive reactive energy UInt32 (EQ1Imp) | kVARh
106 | Phase L2 Positive reactive energy UInt32 (EQ2Imp) | kVARh
107 | Phase L3 Positive reactive energy UInt32 (EQ3Imp) | kVARh
108 | Total Positive reactive energy UInt32 (EQImp) | kVARh
109 | Phase L1 Reverse reactive energy UInt32 (EQ1Exp) | kVARh
110 | Phase L2 Reverse reactive energy UInt32 (EQ2Exp) | kVARh
111 | Phase L3 Reverse reactive energy UInt32 (EQ3Exp) | kVARh
112 | Total Reverse reactive energy UInt32 (EQExp) | kVARh
113 | Phase L1 Apparent Energy UInt32 (ES1) | kVARh
114 | Phase L2 Apparent Energy UInt32 (ES2) | kVARh
115 | Phase L3 Apparent Energy UInt32 (ES3) | kVARh
116 | Total Apparent Energy UInt32 (ES) | kVARh
117 | Phase L1 current total harmonic percentage (I1THD) | %
118 | Phase L2 current total harmonic percentage (I2THD) | %
119 | Phase L3 current total harmonic percentage (I3THD) | %
120 | Phase L1 volage total harmonic percentage (U1THD) | %
121 | Phase L2 volage total harmonic percentage (U2THD) | %
122 | Phase L3 volage total harmonic percentage (U3THD) | %
123 | Phase L1 Maximum current (I1Max) | A
124 | Phase L2 Maximum current (I2Max) | A
125 | Phase L3 Maximum current (I3Max) | A
126 | Phase L1 Minimum current (I1Min) | A
127 | Phase L2 Minimum current (I2Min) | A
128 | Phase L3 Minimum current (I3Min) | A
129 | U1-UN Maximum phase voltage (U1Max) | V
130 | U2-UN Maximum phase voltage (U2Max) | V
131 | U3-UN Maximum phase voltage (U3Max) | V
132 | U1-UN Minimum phase voltage (U1Min) | V
133 | U2-UN Minimum phase voltage (U2Min) | V
134 | U3-UN Minimum phase voltage (U3Min) | V
135 | Ram | %
136 | cpu | %
137 | IP_USB0 | NA
138 | Door | NA
139 | CO2 | %
140 | RELE_GAS | NA
141 | RELE_EXTRACTOR | NA
142 | RELÉ RECIRCULACIÓN | NA
143 | RELE_HUMEDAD | NA
144 | IP_Ethernet | NA
145 | Door_open_duration | NA
146 | man_trap_button | NA
147 | Maximum total system power demand | W
148 | Total system VA demand | VA
149 | Maximum total system VA demand | VA
150 | Total system reactive power demand | VAr
151 | Maximum total system reactive power demand | VAr
152 | Total Import | kVArh
153 | Total Export | kVArh
154 | Total VAh | kVAh
155 | Phase 1 phase angle | Degrees
156 | Phase 2 phase angle | Degrees
157 | Phase 3 phase angle | Degrees
158 | Pt100 | ºC
159 | Res-PT100 | Ω
160 | RELE_AIRE_FRESCO | NA
161 | HVAC_status | NA
162 | HVAC_onoff | NA
163 | HVAC_mode | NA
164 | HVAC_reatGetpoint | ºC
165 | HVAC_room_temp | ºC